## 6509
Module Information for the Current MDF Core Switches
Module Information of the Current WS-C6509-E Switches in MDF Rooms
Module | Ports | Card Type | Model | Sub-Module
1 | 20 | DCEF2T 4 port 40GE / 16 port 10GE | WS-X6904-40G | Distributed Forwarding Card
2 | 20 | DCEF2T 4 port 40GE / 16 port 10GE | WS-X6904-40G | Distributed Forwarding Card
3 | 24 | CEF720 24 port 1000mb SFP | WS-X6824-SFP | Distributed Forwarding Card
5 | 5 | Supervisor Engine 2T 10GE w/ CTS (Active) | VS-SUP2T-10G | CPU Daughterboard
6 | 5 | Supervisor Engine 2T 10GE w/ CTS | VS-SUP2T-10G | CPU Daughterboard
7 | 48 | 48 port 10/100/1000 IEEE 802.3AT | WS-X6148E-GE-45AT | IEEE Voice Daughter Card
8 | 48 | CEF720 48 port 10/100/1000mb Ethernet | WS-X6848-GE-TX | Distributed Forwarding Card
Module Information of the Current C6807-XL Switches in MDF Rooms
Module | Ports | Card Type | Model | Sub-Module
1 | 20 | DCEF2T 4 port 40GE / 16 port 10GE | WS-X6904-40G | Distributed Forwarding Card
2 | 24 | CEF720 24 port 1000mb SFP | WS-X6824-SFP | Distributed Forwarding Card
3 | 5 | Supervisor Engine 2T 10GE w/ CTS (Active) | VS-SUP2T-10G | CPU Daughterboard
4 | 5 | Supervisor Engine 2T 10GE w/ CTS | VS-SUP2T-10G | CPU Daughterboard
5 | 48 | CEF720 48 port 10/100/1000mb Ethernet | WS-X6848-GE-TX | Distributed Forwarding Card

## PHS
Pacifica High School - Current Environment
MDF Room
One Cisco Carrier Packet Transport M6
1 Core Switch - Catalyst 6500 9-slot Chassis System
3 Access Switches - WS-C3750X-48PF-S
Transceiver: 24 SFP+ 10Gbase-LR and 4 SFP+ 10Gbase-SR
UPS : APC Symmetra LX 16kVA Rack-mount Frame
IDF Room(s) with Rack
One IDF including 7 Access Switches - WS-C3750X-48PF-S
IDF Room(s) with Wall-Mount Rack
Six IDFs including 24 Layer-2 switches Each IDF includes one Wall-Mounted Rack and 4 stacked Layer-2 switches (WS-C3750X-48PF-S)
Three IDFs including 9 Layer-2 switches Each IDF includes one Wall-Mounted Rack and 3 stacked Layer-2 switches (WS-C3750X-48PF-S)
Pacifica High School - Upgrade one MDF and one IDF room
Item | Part Number | Description/Note | Unit List Pricing | QTY | Extended Price | OUHSD Pricing | Non E-Rate
(1) MDF
Stackable OR Modular Switch |  |  | 0 |  | 0 | 0 | 0
10/100/1000mb Ethernet line card |  |  | 0 |  | 0 | 0 | 0
1/10/40G Optical line card |  |  | 0 |  | 0 | 0 | 0
Management card |  |  | 0 |  | 0 | 0 | 0
Power Supply |  |  | 0 |  | 0 | 0 | 0
Misc. |  |  | 0 |  | 0 | 0 | 0
Transceiver |  |  | 0 |  | 0 | 0 | 0
Ethernet Cable |  |  | 0 |  | 0 | 0 | 0
Fiber Optic Cable |  |  | 0 |  | 0 | 0 | 0
Rack/Cabinet |  |  | 0 | 2 | 0 | 0 | 0
MDF UPS |  |  | 0 | 1 | 0 | 0 | 0
5 year Term License (Switch) |  |  |  |  | 0 | 0 | 0
Installation |  |  |  |  | 0 | 0 | 0
Switch |  |  |  |  | 0 | 0 | 0
UPS |  |  |  |  | 0 | 0 | 0
Rack/Cabinet |  |  |  |  | 0 | 0 | 0
MDF Subtotal |  |  |  |  | 0 | 0 | 0
(1) IDF with Rack
Stackable OR Modular Switch |  |  | 0 |  | 0 | 0 | 0
10/100/1000mb Ethernet line card |  |  | 0 |  | 0 | 0 | 0
1/10/40G Optical line card |  |  | 0 |  | 0 | 0 | 0
Management card |  |  | 0 |  | 0 | 0 | 0
Power Supply |  |  | 0 |  | 0 | 0 | 0
Rack/Cabinet |  |  | 0 | 1 | 0 | 0 | 0
5 year Term License |  |  |  |  | 0 | 0 | 0
Installation |  |  |  |  | 0 | 0 | 0
Switch |  |  |  |  | 0 | 0 | 0
Rack/Cabinet |  |  |  |  | 0 | 0 | 0
(9) IDF(s) with Wall-Mount Rack
48-port Stackable Layer-2 Switch |  |  | 0 | 33 | 0 | 0 | 0
5 year Term License |  |  |  |  | 0 | 0 | 0
Installation |  |  |  |  | 0 | 0 | 0
IDF Misc. |  |  |  |  | 0 | 0 | 0
Transceiver |  |  | 0 |  | 0 | 0 | 0
Ethernet Cable |  |  | 0 |  | 0 | 0 | 0
Fiber Optic Cable |  |  | 0 |  | 0 | 0 | 0
IDF Subtotal |  |  |  |  | 0 | 0 | 0
Subtotal |  |  |  |  | 0 | 0 | 0
Tax |  |  |  |  | 0 | 0 | 0
Shipping |  |  |  |  | 0 | 0 | 0
Total |  |  |  |  | 0 | 0 | 0

## OHS
Oxnard High School - Current Environment
MDF Room
1 Core Switch - Catalyst 6500 9-slot Chassis System
3 Access Switches - WS-C3750X-48PF-S
Transceiver: 24 SFP+ 10Gbase-LR and 4 SFP+ 10Gbase-SR
UPS : APC Symmetra LX 16kVA Rack-mount Frame
IDF Room(s) with Rack
IDF Room(s) with Wall-Mount Rack
Four IDFs including 16 Layer-2 switches Each IDF includes one Wall-Mounted Rack and four stacked Layer-2 switches (WS-C3750X-48PF-S)
Seven IDFs including 14 Layer-2 switches Each IDF includes one Wall-Mounted Rack and Two stacked Layer-2 switches (WS-C3750X-48PF-S)
Four IDFs including 12 Layer-2 switches Each IDF includes one Wall-Mounted Rack and Three stacked Layer-2 switches (WS-C3750X-48PF-S)
Oxnard High School - Upgrade one MDF and one IDF room
Item | Part Number | Description/Note | Unit List Pricing | QTY | Extended Price | OUHSD Pricing | Non E-Rate
(1) MDF
Stackable OR Modular Switch |  |  | 0 |  | 0 | 0 | 0
10/100/1000mb Ethernet line card |  |  | 0 |  | 0 | 0 | 0
1/10/40G Optical line card |  |  | 0 |  | 0 | 0 | 0
Management card |  |  | 0 |  | 0 | 0 | 0
Power Supply |  |  | 0 |  | 0 | 0 | 0
Misc. |  |  | 0 |  | 0 | 0 | 0
Transceiver |  |  | 0 |  | 0 | 0 | 0
Ethernet Cable |  |  | 0 |  | 0 | 0 | 0
Fiber Optic Cable |  |  | 0 |  | 0 | 0 | 0
Rack/Cabinet |  |  | 0 | 2 | 0 | 0 | 0
MDF UPS |  |  | 0 | 1 | 0 | 0 | 0
5 year Term License (Switch) |  |  |  |  | 0 | 0 | 0
Installation |  |  |  |  | 0 | 0 | 0
Switch |  |  |  |  | 0 | 0 | 0
UPS |  |  |  |  | 0 | 0 | 0
Rack/Cabinet |  |  |  |  | 0 | 0 | 0
MDF Subtotal |  |  |  |  | 0 | 0 | 0
(7) IDF(s) with Wall-Mount Rack
48-port Stackable Layer-2 Switch |  |  | 0 | 42 | 0 | 0 | 0
5 year Term License |  |  |  |  | 0 | 0 | 0
Installation |  |  |  |  | 0 | 0 | 0
IDF Misc. |  |  |  |  | 0 | 0 | 0
Transceiver |  |  | 0 |  | 0 | 0 | 0
Ethernet Cable |  |  | 0 |  | 0 | 0 | 0
Fiber Optic Cable |  |  | 0 |  | 0 | 0 | 0
IDF Subtotal |  |  |  |  | 0 | 0 | 0
Subtotal |  |  |  |  | 0 | 0 | 0
Tax |  |  |  |  | 0 | 0 | 0
Shipping |  |  |  |  | 0 | 0 | 0
Total |  |  |  |  | 0 | 0 | 0

## ACHS
Adolfo Camarillo High School - Current Environment
MDF Room
One Cisco Carrier Packet Transport M6
One Core Switch - Catalyst 6500 9-slot Chassis System
Two Access Switches - WS-C2960S-48LPD-L
Transceiver: 24 SFP+ 10Gbase-LR and 4 SFP+ 10Gbase-SR
UPS : APC Symmetra LX 16kVA Rack-mount Frame
IDF Room(s) with Rack
One IDF including 4 Access Switches - WS-C3750X-48PF-S
IDF Room(s) with Wall-Mount Rack
Two IDFs including 6 Layer-2 switches Each IDF includes one Wall-Mounted Rack and Three stacked Layer-2 switches (WS-C3750X-48PF-S)
Ten IDFs including 20 Layer-2 switches Each IDF includes one Wall-Mounted Rack and Two stacked Layer-2 switches (WS-C3750X-48PF-S)
Adolfo Camarillo High School - Upgrade one MDF and one IDF room
Item | Part Number | Description/Note | Unit List Pricing | QTY | Extended Price | OUHSD Pricing | Non E-Rate
(1) MDF
Stackable OR Modular Switch |  |  | 0 |  | 0 | 0 | 0
10/100/1000mb Ethernet line card |  |  | 0 |  | 0 | 0 | 0
1/10/40G Optical line card |  |  | 0 |  | 0 | 0 | 0
Management card |  |  | 0 |  | 0 | 0 | 0
Power Supply |  |  | 0 |  | 0 | 0 | 0
Misc. |  |  | 0 |  | 0 | 0 | 0
Transceiver |  |  | 0 |  | 0 | 0 | 0
Ethernet Cable |  |  | 0 |  | 0 | 0 | 0
Fiber Optic Cable |  |  | 0 |  | 0 | 0 | 0
Rack/Cabinet |  |  | 0 | 2 | 0 | 0 | 0
MDF UPS |  |  | 0 | 1 | 0 | 0 | 0
5 year Term License (Switch) |  |  |  |  | 0 | 0 | 0
Installation |  |  |  |  | 0 | 0 | 0
Switch |  |  |  |  | 0 | 0 | 0
UPS |  |  |  |  | 0 | 0 | 0
Rack/Cabinet |  |  |  |  | 0 | 0 | 0
MDF Subtotal |  |  |  |  | 0 | 0 | 0
(1) IDF with Rack
Stackable OR Modular Switch |  |  | 0 |  | 0 | 0 | 0
10/100/1000mb Ethernet line card |  |  | 0 |  | 0 | 0 | 0
1/10/40G Optical line card |  |  | 0 |  | 0 | 0 | 0
Management card |  |  | 0 |  | 0 | 0 | 0
Power Supply |  |  | 0 |  | 0 | 0 | 0
Rack/Cabinet |  |  | 0 | 1 | 0 | 0 | 0
5 year Term License |  |  |  |  | 0 | 0 | 0
Installation |  |  |  |  | 0 | 0 | 0
Switch |  |  |  |  | 0 | 0 | 0
Rack/Cabinet |  |  |  |  | 0 | 0 | 0
( 13 ) IDF(s) with Wall-Mount Rack
48-port Stackable Layer-2 Switch |  |  | 0 | 26 | 0 | 0 | 0
5 year Term License |  |  |  |  | 0 | 0 | 0
Installation |  |  |  |  | 0 | 0 | 0
IDF Misc. |  |  |  |  | 0 | 0 | 0
Transceiver |  |  | 0 |  | 0 | 0 | 0
Ethernet Cable |  |  | 0 |  | 0 | 0 | 0
Fiber Optic Cable |  |  | 0 |  | 0 | 0 | 0
IDF Subtotal |  |  |  |  | 0 | 0 | 0
Subtotal |  |  |  |  | 0 | 0 | 0
Tax |  |  |  |  | 0 | 0 | 0
Shipping |  |  |  |  | 0 | 0 | 0
Total |  |  |  |  | 0 | 0 | 0

## HHS
Hueneme High School - Current Environment
MDF Room
One Cisco Carrier Packet Transport M6
1 Core Switch - Catalyst 6500 9-slot Chassis System
Transceiver: 24 SFP+ 10Gbase-LR and 4 SFP+ 10Gbase-SR
UPS : APC Symmetra LX 16kVA Rack-mount Frame
IDF Room(s) with Rack
IDF Room(s) with Wall-Mount Rack
Seven IDFs including 21 Layer-2 switches Each IDF includes one Wall-Mounted Rack and Three stacked Layer-2 switches (WS-C3750X-48PF-S)
Three IDFs including 6 Layer-2 switches Each IDF includes one Wall-Mounted Rack and Two stacked Layer-2 switches (WS-C3750X-48PF-S)
Hueneme High School - Upgrade one MDF and one IDF room
Item | Part Number | Description/Note | Unit List Pricing | QTY | Extended Price | OUHSD Pricing | Non E-Rate
(1) MDF
Stackable OR Modular Switch |  |  | 0 |  | 0 | 0 | 0
10/100/1000mb Ethernet line card |  |  | 0 |  | 0 | 0 | 0
1/10/40G Optical line card |  |  | 0 |  | 0 | 0 | 0
Management card |  |  | 0 |  | 0 | 0 | 0
Power Supply |  |  | 0 |  | 0 | 0 | 0
Misc. |  |  | 0 |  | 0 | 0 | 0
Transceiver |  |  | 0 |  | 0 | 0 | 0
Ethernet Cable |  |  | 0 |  | 0 | 0 | 0
Fiber Optic Cable |  |  | 0 |  | 0 | 0 | 0
Rack/Cabinet |  |  | 0 | 2 | 0 | 0 | 0
MDF UPS |  |  | 0 | 1 | 0 | 0 | 0
5 year Term License (Switch) |  |  |  |  | 0 | 0 | 0
Installation |  |  |  |  | 0 | 0 | 0
Switch |  |  |  |  | 0 | 0 | 0
UPS |  |  |  |  | 0 | 0 | 0
Rack/Cabinet |  |  |  |  | 0 | 0 | 0
MDF Subtotal |  |  |  |  | 0 | 0 | 0
( 10 ) IDF(s) with Wall-Mount Rack
48-port Stackable Layer-2 Switch |  |  | 0 | 27 | 0 | 0 | 0
5 year Term License |  |  |  |  | 0 | 0 | 0
Installation |  |  |  |  | 0 | 0 | 0
IDF Misc. |  |  |  |  | 0 | 0 | 0
Transceiver |  |  | 0 |  | 0 | 0 | 0
Ethernet Cable |  |  | 0 |  | 0 | 0 | 0
Fiber Optic Cable |  |  | 0 |  | 0 | 0 | 0
IDF Subtotal |  |  |  |  | 0 | 0 | 0
Subtotal |  |  |  |  | 0 | 0 | 0
Tax |  |  |  |  | 0 | 0 | 0
Shipping |  |  |  |  | 0 | 0 | 0
Total |  |  |  |  | 0 | 0 | 0

## CIHS
Channel Islands High School - Current Environment
MDF Room
One Cisco Carrier Packet Transport M6
1 Core Switch - Catalyst 6500 9-slot Chassis System
Transceiver: 30 SFP+ 10Gbase-LR and 6 SFP+ 10Gbase-SR
UPS : APC Symmetra LX 16kVA Rack-mount Frame
IDF Room(s) with Rack
IDF Room(s) with Wall-Mount Rack
Four IDFs including 12 Layer-2 switches Each IDF includes one Wall-Mounted Rack and 3 stacked Layer-2 switches (WS-C3750X-48PF-S)
Nine IDFs including 18 Layer-2 switches Each IDF includes one Wall-Mounted Rack and 2 stacked Layer-2 switches (WS-C2960S-48FPD-L)
One IDFs including 4 Layer-2 switches (WS-C3750X-48PF-S)
Channel Islands High School - Upgrade one MDF and one IDF room
Item | Part Number | Description/Note | Unit List Pricing | QTY | Extended Price | OUHSD Pricing | Non E-Rate
(1) MDF
Stackable OR Modular Switch |  |  | 0 |  | 0 | 0 | 0
10/100/1000mb Ethernet line card |  |  | 0 |  | 0 | 0 | 0
1/10/40G Optical line card |  |  | 0 |  | 0 | 0 | 0
Management card |  |  | 0 |  | 0 | 0 | 0
Power Supply |  |  | 0 |  | 0 | 0 | 0
Misc. |  |  | 0 |  | 0 | 0 | 0
Transceiver |  |  | 0 |  | 0 | 0 | 0
Ethernet Cable |  |  | 0 |  | 0 | 0 | 0
Fiber Optic Cable |  |  | 0 |  | 0 | 0 | 0
Rack/Cabinet |  |  | 0 | 2 | 0 | 0 | 0
MDF UPS |  |  | 0 | 1 | 0 | 0 | 0
5 year Term License (Switch) |  |  |  |  | 0 | 0 | 0
Installation |  |  |  |  | 0 | 0 | 0
Switch |  |  |  |  | 0 | 0 | 0
UPS |  |  |  |  | 0 | 0 | 0
Rack/Cabinet |  |  |  |  | 0 | 0 | 0
MDF Subtotal |  |  |  |  | 0 | 0 | 0
( 14 ) IDF(s) with Wall-Mount Rack
48-port Stackable Layer-2 Switch |  |  | 0 | 34 | 0 | 0 | 0
5 year Term License |  |  |  |  | 0 | 0 | 0
Installation |  |  |  |  | 0 | 0 | 0
IDF Misc. |  |  |  |  | 0 | 0 | 0
Transceiver |  |  | 0 |  | 0 | 0 | 0
Ethernet Cable |  |  | 0 |  | 0 | 0 | 0
Fiber Optic Cable |  |  | 0 |  | 0 | 0 | 0
IDF Subtotal |  |  |  |  | 0 | 0 | 0
Subtotal |  |  |  |  | 0 | 0 | 0
Tax |  |  |  |  | 0 | 0 | 0
Shipping |  |  |  |  | 0 | 0 | 0
Total |  |  |  |  | 0 | 0 | 0

## RMHS
Rio Mesa High School - Current Environment
MDF Room
One Cisco Carrier Packet Transport M6
1 Core Switch - Catalyst 6500 9-slot Chassis System
1 Access Switch - WS-C2960G-48TC-L
Transceiver: 30 SFP+ 10Gbase-LR and 6 SFP+ 10Gbase-SR
UPS : APC Symmetra LX 16kVA Rack-mount Frame
IDF Room(s) with Rack
One IDF including 4 Access Switches - WS-C3750X-48PD-S
One IDF including 3 Access Switches - WS-C3750X-48PD-SF
IDF Room(s) with Wall-Mount Cabinet
One IDF including one Wall-Mounted Rack and 3 stacked Layer-2 switches (WS-C3750X-48PF-S)
Seven IDFs including 14 Layer-2 switches Each IDF including one Wall-Mounted Rack and 2 stacked Layer-2 switches (WS-C3750X-48PF-S)
Rio Mesa High School - Upgrade one MDF and one IDF room
Item | Part Number | Description/Note | Unit List Pricing | QTY | Extended Price | OUHSD Pricing | Non E-Rate
(1) MDF
Stackable OR Modular Switch |  |  | 0 |  | 0 | 0 | 0
10/100/1000mb Ethernet line card |  |  | 0 |  | 0 | 0 | 0
1/10/40G Optical line card |  |  | 0 |  | 0 | 0 | 0
Management card |  |  | 0 |  | 0 | 0 | 0
Power Supply |  |  | 0 |  | 0 | 0 | 0
Misc. |  |  | 0 |  | 0 | 0 | 0
Transceiver |  |  | 0 |  | 0 | 0 | 0
Ethernet Cable |  |  | 0 |  | 0 | 0 | 0
Fiber Optic Cable |  |  | 0 |  | 0 | 0 | 0
Rack/Cabinet |  |  | 0 | 2 | 0 | 0 | 0
MDF UPS |  |  | 0 | 1 | 0 | 0 | 0
5 year Term License (Switch) |  |  |  |  | 0 | 0 | 0
Installation |  |  |  |  | 0 | 0 | 0
Switch |  |  |  |  | 0 | 0 | 0
UPS |  |  |  |  | 0 | 0 | 0
Rack/Cabinet |  |  |  |  | 0 | 0 | 0
MDF Subtotal |  |  |  |  | 0 | 0 | 0
(2) IDF with Rack
Stackable OR Modular Switch |  |  | 0 |  | 0 | 0 | 0
10/100/1000mb Ethernet line card |  |  | 0 |  | 0 | 0 | 0
1/10/40G Optical line card |  |  | 0 |  | 0 | 0 | 0
Management card |  |  | 0 |  | 0 | 0 | 0
Power Supply |  |  | 0 |  | 0 | 0 | 0
Rack/Cabinet |  |  | 0 | 2 | 0 | 0 | 0
5 year Term License |  |  |  |  | 0 | 0 | 0
Installation |  |  |  |  | 0 | 0 | 0
Switch |  |  |  |  | 0 | 0 | 0
Rack/Cabinet |  |  |  |  | 0 | 0 | 0
( 10 ) IDF(s) with Wall-Mount Rack
48-port Stackable Layer-2 Switch |  |  | 0 | 17 | 0 | 0 | 0
5 year Term License |  |  |  |  | 0 | 0 | 0
Installation |  |  |  |  | 0 | 0 | 0
IDF Misc. |  |  |  |  | 0 | 0 | 0
Transceiver |  |  | 0 |  | 0 | 0 | 0
Ethernet Cable |  |  | 0 |  | 0 | 0 | 0
Fiber Optic Cable |  |  | 0 |  | 0 | 0 | 0
IDF Subtotal |  |  |  |  | 0 | 0 | 0
Subtotal |  |  |  |  | 0 | 0 | 0
Tax |  |  |  |  | 0 | 0 | 0
Shipping |  |  |  |  | 0 | 0 | 0
Total |  |  |  |  | 0 | 0 | 0

## FHS
Frontier High School - Current Environment
MDF Room
One Cisco Carrier Packet Transport M6
1 Core Switch - Catalyst 6807 9-slot Chassis System
2 Access Switch - WS-C3850-48P
Transceiver: 10 SFP+ 10Gbase-LR and 2 SFP+ 10Gbase-SR
UPS : APC Symmetra LX 16kVA Rack-mount Frame
IDF Room(s) with Rack
IDF Room(s) with Wall-Mount Cabinet
Frontier High School - Upgrade one MDF and one IDF room
Item | Part Number | Description/Note | Unit List Pricing | QTY | Extended Price | OUHSD Pricing | Non E-Rate
(1) MDF
Stackable OR Modular Switch |  |  | 0 |  | 0 | 0 | 0
10/100/1000mb Ethernet line card |  |  | 0 |  | 0 | 0 | 0
1/10/40G Optical line card |  |  | 0 |  | 0 | 0 | 0
Management card |  |  | 0 |  | 0 | 0 | 0
Power Supply |  |  | 0 |  | 0 | 0 | 0
Misc. |  |  | 0 |  | 0 | 0 | 0
Transceiver |  |  | 0 |  | 0 | 0 | 0
Ethernet Cable |  |  | 0 |  | 0 | 0 | 0
Fiber Optic Cable |  |  | 0 |  | 0 | 0 | 0
Rack/Cabinet |  |  | 0 | 1 | 0 | 0 | 0
MDF UPS |  |  | 0 | 1 | 0 | 0 | 0
5 year Term License (Switch) |  |  |  |  | 0 | 0 | 0
Installation |  |  |  |  | 0 | 0 | 0
Switch |  |  |  |  | 0 | 0 | 0
UPS |  |  |  |  | 0 | 0 | 0
Rack/Cabinet |  |  |  |  | 0 | 0 | 0
MDF Subtotal |  |  |  |  | 0 | 0 | 0
Subtotal |  |  |  |  | 0 | 0 | 0
Tax |  |  |  |  | 0 | 0 | 0
Shipping |  |  |  |  | 0 | 0 | 0
Total |  |  |  |  | 0 | 0 | 0